{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["1对1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1对1","index":0,"n_rows":45,"n_cols":7,"rows_kept":45,"merged":[[0,0,0,6],[1,0,1,5],[7,0,7,5],[13,0,13,5],[19,0,19,5],[25,0,25,5],[31,0,31,5],[38,0,38,5]],"flags":["formulas_cached_only"]}
["连云港秀逸苏杭东苑地下室、住宅楼、商务楼 --防火门联动报价表"]
["6#"]
["序号","产品名称","规格型号","数量","单位","单价","小计"]
[1,"防火门区域分机","RXPM QF",1,"台"]
[2,"单闭防火门门磁开关","RXPM MC",125,"只"]
[3,"双闭防火门门磁开关","RXPM MC",4,"只"]
[4,"一体式防火门电动闭门器","RX-BM",112,"只"]
["8#"]
["序号","产品名称","规格型号","数量","单位","单价","小计"]
[1,"防火门区域分机","RXPM QF",1,"台"]
[2,"单闭防火门门磁开关","RXPM MC",158,"只"]
[3,"双闭防火门门磁开关","RXPM MC",4,"只"]
[4,"一体式防火门电动闭门器","RX-BM",112,"只"]
["9#"]
["序号","产品名称","规格型号","数量","单位","单价","小计"]
[1,"防火门区域分机","RXPM QF",1,"台"]
[2,"单闭防火门门磁开关","RXPM MC",151,"只"]
[3,"双闭防火门门磁开关","RXPM MC",4,"只"]
[4,"一体式防火门电动闭门器","RX-BM",140,"只"]
["10#"]
["序号","产品名称","规格型号","数量","单位","单价","小计"]
[1,"防火门区域分机","RXPM QF",1,"台"]
[2,"单闭防火门门磁开关","RXPM MC",128,"只"]
[3,"双闭防火门门磁开关","RXPM MC",4,"只"]
[4,"一体式防火门电动闭门器","RX-BM",124,"只"]
["11#"]
["序号","产品名称","规格型号","数量","单位","单价","小计"]
[1,"防火门区域分机","RXPM QF",1,"台"]
[2,"单闭防火门门磁开关","RXPM MC",156,"只"]
[3,"双闭防火门门磁开关","RXPM MC",4,"只"]
[4,"一体式防火门电动闭门器","RX-BM",140,"只"]
["12#"]
["序号","产品名称","规格型号","数量","单位","单价","小计"]
[1,"防火门区域分机","RXPM QF",1,"台"]
[2,"单闭防火门门磁开关","RXPM MC",154,"只"]
[3,"双闭防火门门磁开关","RXPM MC",4,"只"]
[4,"一体式防火门电动闭门器","RX-BM",140,"只"]
[]
["地下室"]
["序号","产品名称","规格型号","数量","单位","单价","小计"]
[1,"防火门区域分机","RXPM QF",1,"台"]
[2,"单闭防火门门磁开关","RXPM MC",13,"只"]
[3,"双闭防火门门磁开关","RXPM MC",42,"只"]
[4,"一体式防火门电动闭门器","RX-BM",84,"只"]
["以上产品为消防3C认证产品，保证消防验收通过。（以上报价为全费用综合单价，包括材料、措施费、各种协调公关费、税金等）"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}